## BOM WORKING TEMPLATE
SERIAL NUMBER | SAP MATERIAL NUMBER | MATERIAL TEMP NUMBER | MATERIAL TYPEVCATEGORY | EXTERNAL NUMBER ASSIGNED FOR ASSEMBLY | MESC/SPF_REF | OLD MATERIAL NUMBER/SPF NUMBER | LEN(OLD MAT/SPF NUMBER = 18) | MATERIAL DESCRIPTION | LEN(MAT.DESC = 40) | MAINTENANCE PLANNING PLANT | BASE UNIT OF MEASURE(T006) | MANUFACTURERS PART NUMBER | LEN(MFR PART NUMBER = 18) | MANUFACTURER NAME | LEN(MANUFACTURER=30) | SAFETY STOCK | CRITICALITY (EQUIPMENT) | MATERIAL IS AN EQUIPMENT INDICATOR | BOM HEADER NUMBER | QUANTITY | POSITION NUMBER | CDC_SPIR NUMBER | DELIVERY TIME IN WEEKS | MANUFACTURER COUNTRY CODE | MM REQUIREMENT MATERIAL TYPE | MM REQUIREMENT MATERIAL GROUP | MM REQUIREMENT MOVING AVERAGE PRICE | PO TEXT | CDC_ADD INFORMATION | REORDER POINT (MINIMUM QTY) | MAXIMUM STOCK LEVEL(MAX QTY) | ASSEMBLY | MANUFACTURER COUNTRY NAME | CURRENCY CODE REF | BOM HEADER-REMARKS | PRD NAME | PRD DATE DD-MM-YYYY | SELF QC | LEAD QC NAME | LEAD QC DATE DD-MM-YYYY | TEAM LEAD QC
NA | SAP_MATNR | MATNR | POSTP | EXTMATNR | NA | BISMT | NA | MAKTX | NA | IWERK | MEINS | MFPRN | NA | MFRNR | NA | EISBE | ABC | SUBMT | BOM_PART_EQUIP | MENGE | POSNR | CDC_SPIR NUMBER | LEAD TIME | HERLD | MTART | MATKL | VERPR | PO TEXT | CDC_ADD INFO | MINBE | MABST | ASSY SUBMT | COUNTRY NAME | CURRENCY | REMARKS | NAME | DD-MM-YYYY | SELF QC | NAME | DD-MM-YYYY | TEAM LEAD QC
4 | 8 | 8 | 1 | 4 |  | 18 | 18 | 40 | 40 | 4 | 3 | 35 | 35 | 30 | 30 | 50 | 1 | 3 | 8 | 50 | 4 | 25 | 40 | 3 | 4 | 4 | 11 | 255 | 255 | LONG INTEGER | LONG INTEGER | 3 | 255 | 3 | 255 | 255 | 10 | 255 | 255 | 10 | 255
NA | NA | NA | T418 | NA |  | NA | NA | NA | NA | T399I | T006 | REFERENCE-ANEXURE1-MANUFACTURER PART NUMBER | NA | REFERENCE-ANEXURE1-MANUFACTURER NAME | NA | NA | NA | YES/NO | NA | NA | NA | NA | NA | T005 | T134 | T023 | NA | NA | NA | NA | NA | YES/NO | NA | NA | NA | REFERENCE_NAME | NA | COMPLETED /INPROGRESS | REFERENCE_NAME | NA | COMPLETED /INPROGRESS
1 | 2 | 3 | 4 | 5 | 6 | 7 | 7.1 | 8 | 8.1 | 9 | 10 | 11 | 11.1 | 12 | 12.1 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30.1 | 30.2 | 30.3 | 30.4 | 30.5 | 30.6 | 30.7 | 30.8 | 30.9
1 |  | 40001 | B |  |  |  |  | LV SWITCHGEAR |  | 2300 |  |  |  | SCHNEIDER ELECTRIC |  |  |  | YES | 40001 | 1 | 0010 | VEN-4391-M3TY-2-43-0003 |  | QA | [8 empty] | QATAR
2 | 10231307 | 500001 | L |  |  | 4391-2430003-01L01 |  | HARMONY XB5 WHITE COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC,XB5AVG1,SCHNEIDER ELECTRIC |  | 2300 | NO | XB5AVG1 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0010 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 75.3 |  |  | 1 |  |  | QATAR | QAR
3 | 10270999 | 500002 | L |  |  | 4391-2430003-01L02 |  | HARMONY XB5 GREEN COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC,XB5AVG3,SCHNEIDER ELECTRIC |  | 2300 | NO | XB5AVG3 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0020 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 72.4 |  |  | 1 |  |  | QATAR | QAR
4 | 10227189 | 500003 | L |  |  | 4391-2430003-01L03 |  | HARMONY XB5 RED COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC,XB5AVG4,SCHNEIDER ELECTRIC |  | 2300 | NO | XB5AVG4 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0030 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 69.8 |  |  | 1 |  |  | QATAR | QAR
5 | 10341796 | 500004 | L |  |  | 4391-2430003-01L04 |  | HARMONY XB5 AMBER COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC,XB5AVG5,SCHNEIDER ELECTRIC |  | 2300 | NO | XB5AVG5 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0040 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 67.2 |  |  | 1 |  |  | QATAR | QAR
6 | 10174201 | 500005 | L |  |  | 4391-2430003-01L05 |  | ZELIO RXM MINIATURE RELAY, 4 CO, ITH=6A, WITHOUT LED INDICATION, 120 VAC,RXM4AB1F7,SCHNEIDER ELECTRIC |  | 2300 | NO | RXM4AB1F7 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 16 | 0050 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 35.94 |  |  | 2 |  |  | QATAR | QAR
7 | 10305370 | 500006 | L |  |  | 4391-2430003-01L06 |  | ZELIO SOCKET RXZ - MIXED CONTACT, 10A - < 250V - CONNECTOR - FOR RELAY RXM2.., RXM4..,RXZE2M114M,SCHNEIDER ELECTRIC |  | 2300 | NO | RXZE2M114M |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 16 | 0060 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 18.42 |  |  | 3 |  |  | QATAR | QAR
8 | 10319351 | 500007 | L |  |  | 4391-2430003-01L07 |  | MOTOR CONTROLLER LTM R TESYS T - 100..240 V AC, 5...100 A FOR MODBUS,LTMR100MFM,SCHNEIDER ELECTRIC |  | 2300 | NO | LTMR100MFM |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0070 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 1872.4 |  |  | 2 |  |  | QATAR | QAR
9 | 10343706 | 500008 | L |  |  | 4391-2430003-01L08 |  | EXTENSION MODULE LTM E TESYS T - 100..240 V AC,LTMEV40FM,SCHNEIDER ELECTRIC |  | 2300 | NO | LTMEV40FM |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0080 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 698.3 |  |  | 2 |  |  | QATAR | QAR
10 | 10340165 | 500009 | L |  |  | 4391-2430003-01L09 |  | OPERATOR CONTROL UNIT LTM CU TESYS T,LTMCU,SCHNEIDER ELECTRIC |  | 2300 | NO | LTMCU |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0090 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 923.05 |  |  | 2 |  |  | QATAR | QAR
11 | 10389800 | 500010 | L |  |  | 4391-2430003-01L10 |  | MINIATURE CIRCUIT BREAKER IC60H, 2P, 6A, C,A9F84206,SCHNEIDER ELECTRIC |  | 2300 | NO | A9F84206 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0100 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 64 |  |  | 1 |  |  | QATAR | QAR
12 | 10633065 | 500011 | L |  |  | 4391-2430003-01L11 |  | MINIATURE CIRCUIT BREAKER IC60L, 2P, 4A, C,A9F94204,SCHNEIDER ELECTRIC |  | 2300 | NO | A9F94204 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0110 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 522.4 |  |  | 1 |  |  | QATAR | QAR
13 | 10093780 | 500012 | L |  |  | 4391-2430003-01L12 |  | CONTACTOR TESYS LC1-D - 3P - AC-3 440V 80 A, COIL 110 V AC,LC1D80F7,SCHNEIDER ELECTRIC |  | 2300 | NO | LC1D80F7 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0120 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 947.6 |  |  | 2 |  |  | QATAR | QAR
14 | 10319067 | 500013 | L |  |  | 4391-2430003-01L13 |  | AUXILIARY CONTACT BLOCK TESYS - 2 NO + 2 NC,SCREW-CLAMPS TERMINALS,LADN22,SCHNEIDER ELECTRIC |  | 2300 | NO | LADN22 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0130 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 96.6 |  |  | 1 |  |  | QATAR | QAR
15 | 10209885 | 500014 | L |  |  | 4391-2430003-01L14 |  | AUXILIARY CONTACT BLOCK TESYS - 1 NO + 1 NC,SCREW-CLAMPS TERMINALS,LAD8N11,SCHNEIDER ELECTRIC |  | 2300 | NO | LAD8N11 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40001 | 4 | 0140 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 73.85 |  |  | 1 |  |  | QATAR | QAR
16 |  | 40002 | B |  |  |  |  | LV SWITCHGEAR |  | 2300 |  |  |  | SCHNEIDER ELECTRIC |  |  |  | YES | 40002 | 1 | 0010 | VEN-4391-M3TY-2-43-0003 |  | QA | [8 empty] | QATAR
17 | 10305370 | 500006 | L |  |  | 4391-2430003-01L06 |  | ZELIO SOCKET RXZ - MIXED CONTACT, 10A - < 250V - CONNECTOR - FOR RELAY RXM2.., RXM4..,RXZE2M114M,SCHNEIDER ELECTRIC |  | 2300 | NO | RXZE2M114M |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 4 | 0010 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 18.42 |  |  | 3 |  |  | QATAR | QAR
18 | 10319067 | 500013 | L |  |  | 4391-2430003-01L13 |  | AUXILIARY CONTACT BLOCK TESYS - 2 NO + 2 NC,SCREW-CLAMPS TERMINALS,LADN22,SCHNEIDER ELECTRIC |  | 2300 | NO | LADN22 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0020 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 96.6 |  |  | 1 |  |  | QATAR | QAR
19 | 10209885 | 500014 | L |  |  | 4391-2430003-01L14 |  | AUXILIARY CONTACT BLOCK TESYS - 1 NO + 1 NC,SCREW-CLAMPS TERMINALS,LAD8N11,SCHNEIDER ELECTRIC |  | 2300 | NO | LAD8N11 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0030 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 73.85 |  |  | 1 |  |  | QATAR | QAR
20 | 10228702 | 500015 | L |  |  | 4391-2430003-01L15 |  | HARMONY XB5 RED FLUSH COMPLETE PUSHBUTTON Ø22 SPRING RETURN 1NO UNMARKED,XB5AA42,SCHNEIDER ELECTRIC |  | 2300 | NO | XB5AA42 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0040 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 38.9 |  |  | 1 |  |  | QATAR | QAR
21 | 10626665 | 500016 | L |  |  | 4391-2430003-01L16 |  | AUXILLIARY CONTACT -IOF,A9A26904,SCHNEIDER ELECTRIC |  | 2300 | NO | A9A26904 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0050 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 17.35 |  |  | 1 |  |  | QATAR | QAR
22 | 10082296 | 500017 | L |  |  | 4391-2430003-01L17 |  | FUSE 10.3 X 38 GG 2A,DF2CN02,SCHNEIDER ELECTRIC |  | 2300 | NO | DF2CN02 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0060 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 7.5 |  |  | 1 |  |  | QATAR | QAR
23 | 10367428 | 500018 | L |  |  | 4391-2430003-01L18 |  | MINIATURE CIRCUIT BREAKER-IC60N, 2P 2A C CURVE,A9F74202,SCHNEIDER ELECTRIC |  | 2300 | NO | A9F74202 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0070 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 75.75 |  |  | 1 |  |  | QATAR | QAR
24 | 10318990 | 500019 | L |  |  | 4391-2430003-01L19 |  | COMPLETE BODY LIGHT BLOCK ASSEMBLY, HARMONY XB5, 24...120V AC DC,ZB5AVBG1,SCHNEIDER ELECTRIC |  | 2300 | NO | ZB5AVBG1 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 6 | 0080 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 85.1 |  |  | 1 |  |  | QATAR | QAR
25 | 10231210 | 500020 | L |  |  | 4391-2430003-01L20 |  | HEAD PILOT LAMP RED,ZB5AV043,SCHNEIDER ELECTRIC |  | 2300 | NO | ZB5AV043 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0090 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 24.12 |  |  | 1 |  |  | QATAR | QAR
26 | 10231189 | 500021 | L |  |  | 4391-2430003-01L21 |  | HEAD PILOT LAMP GREEN,ZB5AV033,SCHNEIDER ELECTRIC |  | 2300 | NO | ZB5AV033 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0100 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 24.78 |  |  | 1 |  |  | QATAR | QAR
27 | 10626660 | 500022 | L |  |  | 4391-2430003-01L22 |  | HEAD PILOT LAMP YELLOW,ZB5AV083,SCHNEIDER ELECTRIC |  | 2300 | NO | ZB5AV083 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0110 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 18.05 |  |  | 1 |  |  | QATAR | QAR
28 | 10092099 | 500023 | L |  |  | 4391-2430003-01L23 |  | BLOCK OF CONTACT 1NO,ZBE101,SCHNEIDER ELECTRIC |  | 2300 | NO | ZBE101 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 4 | 0120 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 23.64 |  |  | 1 |  |  | QATAR | QAR
29 | 10292912 | 500024 | L |  |  | 4391-2430003-01L24 |  | INSTANTANEOUS AUX RELAY 110V AC,RXM4AB2F7,SCHNEIDER ELECTRIC |  | 2300 | NO | RXM4AB2F7 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 4 | 0130 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 44.64 |  |  | 1 |  |  | QATAR | QAR
30 | 10223509 | 500025 | L |  |  | 4391-2430003-02L01 |  | SELECTOR SWITCH Ø22 3 POSITIONS,XB5AD33,SCHNEIDER ELECTRIC |  | 2300 | NO | XB5AD33 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0140 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 60 |  |  | 1 |  |  | QATAR | QAR
31 | 10366226 | 500026 | L |  |  | 4391-2430003-03L09 |  | CONT ACTDR-3P- AC-3 440V - 40A - C□IL LLOVAC,LC1D40AF7,SCHNEIDER ELECTRIC |  | 2300 | NO | LC1D40AF7 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0150 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 587.95 |  |  | 1 |  |  | QATAR | QAR
32 | 10387030 | 500027 | L |  |  | 4391-2430003-03L10 |  | MOTOR CIRCUIT BREAKER, 3P, 24-32 A, MAGNETDTHERMAL,GV2ME32,SCHNEIDER ELECTRIC |  | 2300 | NO | GV2ME32 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0160 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 406.8 |  |  | 1 |  |  | QATAR | QAR
33 | 10624459 | 500028 | L |  |  | 4391-2430003-03L11 |  | AUXILIARY CONT ACT - !ND+ !NC,GVAN11,SCHNEIDER ELECTRIC |  | 2300 | NO | GVAN11 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0170 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 39.95 |  |  | 1 |  |  | QATAR | QAR
34 | 10202363 | 500029 | L |  |  | 4391-2430003-03L12 |  | FUSE 22X58 \./ITH TRIP INDICATOR,FR22AM69V63P,SCHNEIDER ELECTRIC |  | 2300 | NO | FR22AM69V63P |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 6 | 0180 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 159 |  |  | 1 |  |  | QATAR | QAR
35 | 10599849 | 500030 | L |  |  | 4391-2430003-03L13 |  | FUSE CARRIER 22X58 3P,DF223C,SCHNEIDER ELECTRIC |  | 2300 | NO | DF223C |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0190 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 253.85 |  |  | 1 |  |  | QATAR | QAR
36 | 10258124 | 500031 | L |  |  | 4391-2430003-03L14 |  | THERMAL OVERLOAD RELAY, TESYS LRD, 23..32 A, CLASS LOA,LRD32,SCHNEIDER ELECTRIC |  | 2300 | NO | LRD32 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40002 | 2 | 0200 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 237.1 |  |  | 1 |  |  | QATAR | QAR
37 |  | 40003 | B |  |  |  |  | LV SWITCHGEAR |  | 2300 |  |  |  | SCHNEIDER ELECTRIC |  |  |  | YES | 40003 | 1 | 0010 | VEN-4391-M3TY-2-43-0003 |  | QA | [8 empty] | QATAR
38 | 10305370 | 500006 | L |  |  | 4391-2430003-01L06 |  | ZELIO SOCKET RXZ - MIXED CONTACT, 10A - < 250V - CONNECTOR - FOR RELAY RXM2.., RXM4..,RXZE2M114M,SCHNEIDER ELECTRIC |  | 2300 | NO | RXZE2M114M |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 16 | 0010 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 18.42 |  |  | 3 |  |  | QATAR | QAR
39 | 10319351 | 500007 | L |  |  | 4391-2430003-01L07 |  | MOTOR CONTROLLER LTM R TESYS T - 100..240 V AC, 5...100 A FOR MODBUS,LTMR100MFM,SCHNEIDER ELECTRIC |  | 2300 | NO | LTMR100MFM |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0020 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 1872.4 |  |  | 2 |  |  | QATAR | QAR
40 | 10343706 | 500008 | L |  |  | 4391-2430003-01L08 |  | EXTENSION MODULE LTM E TESYS T - 100..240 V AC,LTMEV40FM,SCHNEIDER ELECTRIC |  | 2300 | NO | LTMEV40FM |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0030 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 698.3 |  |  | 2 |  |  | QATAR | QAR
41 | 10340165 | 500009 | L |  |  | 4391-2430003-01L09 |  | OPERATOR CONTROL UNIT LTM CU TESYS T,LTMCU,SCHNEIDER ELECTRIC |  | 2300 | NO | LTMCU |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0040 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 923.05 |  |  | 2 |  |  | QATAR | QAR
42 | 10093780 | 500012 | L |  |  | 4391-2430003-01L12 |  | CONTACTOR TESYS LC1-D - 3P - AC-3 440V 80 A, COIL 110 V AC,LC1D80F7,SCHNEIDER ELECTRIC |  | 2300 | NO | LC1D80F7 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0050 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 947.6 |  |  | 2 |  |  | QATAR | QAR
43 | 10340187 | 500032 | L |  |  | 4391-2430003-02L20 |  | SIGNAL LAMP BODY-RED 16MM 48-120VAC,ZB6EG4B,SCHNEIDER ELECTRIC |  | 2300 | NO | ZB6EG4B |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0060 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 206.04 |  |  | 1 |  |  | QATAR | QAR
44 | 10340188 | 500033 | L |  |  | 4391-2430003-02L21 |  | SIGNAL LAMP HEAD-RED 16MM 48-120VAC,ZB6AV4,SCHNEIDER ELECTRIC |  | 2300 | NO | ZB6AV4 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0070 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 34.85 |  |  | 1 |  |  | QATAR | QAR
45 | 10340189 | 500034 | L |  |  | 4391-2430003-02L22 |  | SIGNAL LAMP BODY-GREEN 16MM 48-120VAC,ZB6EG3B,SCHNEIDER ELECTRIC |  | 2300 | NO | ZB6EG3B |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0080 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 210.96 |  |  | 1 |  |  | QATAR | QAR
46 | 10340200 | 500035 | L |  |  | 4391-2430003-02L23 |  | SIGNAL LAMP HEAD-GREEN 16MM 48-120VAC,ZB6AV3,SCHNEIDER ELECTRIC |  | 2300 | NO | ZB6AV3 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0090 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 32.85 |  |  | 1 |  |  | QATAR | QAR
47 | 10343703 | 500036 | L |  |  | 4391-2430003-02L24 |  | SIGNAL LAMP BODY-YELLOW 16MM 48-120VAC,ZB6EG5B,SCHNEIDER ELECTRIC |  | 2300 | NO | ZB6EG5B |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0100 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 261.78 |  |  | 1 |  |  | QATAR | QAR
48 | 10343704 | 500037 | L |  |  | 4391-2430003-03L01 |  | SIGNAL LAMP HEAD-YELLOW 16MM 48-120VAC,ZB6AV5,SCHNEIDER ELECTRIC |  | 2300 | NO | ZB6AV5 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0110 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 36.7 |  |  | 1 |  |  | QATAR | QAR
49 | 10340184 | 500038 | L |  |  | 4391-2430003-03L02 |  | PUSHBUTTON SPRING RETURN 16MM BALCK 1NO+1NC,XB6AA25B,SCHNEIDER ELECTRIC |  | 2300 | NO | XB6AA25B |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0120 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 112.3 |  |  | 1 |  |  | QATAR | QAR
50 | 10343571 | 500039 | L |  |  | 4391-2430003-03L03 |  | PUSHBUTTON MUSHROOM HEAD 16MM RED 1NO+1NC,XB6AS8349B,SCHNEIDER ELECTRIC |  | 2300 | NO | XB6AS8349B |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0130 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 195.55 |  |  | 1 |  |  | QATAR | QAR
51 | 10340201 | 500040 | L |  |  | 4391-2430003-03L04 |  | PUSHBUTTON SPRING RETURN 16MM RED 1NC,XB6AA42B,SCHNEIDER ELECTRIC |  | 2300 | NO | XB6AA42B |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0140 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 101.88 |  |  | 1 |  |  | QATAR | QAR
52 | 10340202 | 500041 | L |  |  | 4391-2430003-03L05 |  | PUSHBUTTON SPRING RETURN 16MM GREEN 1NC,XB6AA31B,SCHNEIDER ELECTRIC |  | 2300 | NO | XB6AA31B |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 4 | 0150 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 91.25 |  |  | 1 |  |  | QATAR | QAR
53 | 10626664 | 500042 | L |  |  | 4391-2430003-03L06 |  | AC AMMETER 75/1A C:1 48X48 6*IN 0-75-450A,FQ0407 HA756SAASNSSSYS,ISKRA |  | 2300 | NO | FQ0407 HA756SAASNSSSYS |  | ISKRA |  |  |  | NO | 40003 | 2 | 0160 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 1015.35 |  |  | 1 |  |  | QATAR | QAR
54 | 10626569 | 500043 | L |  |  | 4391-2430003-03L07 |  | AC AMMETER 40/1A C:1 48X48 6*IN 0-40-240A,FQ0407 HA406SAASNSSSYS,ISKRA |  | 2300 | NO | FQ0407 HA406SAASNSSSYS |  | ISKRA |  |  |  | NO | 40003 | 2 | 0170 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 1021.5 |  |  | 1 |  |  | QATAR | QAR
55 | 10393417 | 500044 | L |  |  | 4391-2430003-03L08 |  | MINIATURE CIRCUIT BREAKER IC60H, 2P,4A,A9F84204,SCHNEIDER ELECTRIC |  | 2300 | NO | A9F84204 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40003 | 8 | 0180 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 113.7 |  |  | 2 |  |  | QATAR | QAR
56 |  | 40004 | B |  |  |  |  | LV SWITCHGEAR |  | 2300 |  |  |  | SCHNEIDER ELECTRIC |  |  |  | YES | 40004 | 1 | 0010 | VEN-4391-M3TY-2-43-0003 |  | QA | [8 empty] | QATAR
57 | 10095836 | 500045 | L |  |  | 4391-2430003-02L02 |  | FUSE LINK TIA 20,82130/106,BUSSMAN |  | 2300 | NO | 82130/106 |  | BUSSMAN |  |  |  | NO | 40004 | 3 | 0010 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 829.08 |  |  | 1 |  |  | QATAR | QAR
58 | 10095846 | 500046 | L |  |  | 4391-2430003-02L03 |  | FUSE LINK TIS 63,82130/204,BUSSMAN |  | 2300 | NO | 82130/204 |  | BUSSMAN |  |  |  | NO | 40004 | 6 | 0020 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 829.08 |  |  | 2 |  |  | QATAR | QAR
59 | 10261634 | 500047 | L |  |  | 4391-2430003-02L04 |  | FUSE LINK TCP 80,82130/301,BUSSMAN |  | 2300 | NO | 82130/301 |  | BUSSMAN |  |  |  | NO | 40004 | 12 | 0030 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 829.08 |  |  | 2 |  |  | QATAR | QAR
60 | 10095812 | 500048 | L |  |  | 4391-2430003-02L05 |  | FUSE LINK NS6,82120/103,EATON |  | 2300 | NO | 82120/103 |  | EATON |  |  |  | NO | 40004 | 6 | 0040 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 205.38 |  |  | 1 |  |  | QATAR | QAR
61 | 10089403 | 500049 | L |  |  | 4391-2430003-02L06 |  | MONOLITHIC PLASTIC LIGHT- RED, INTEGRAL LED 230..240V AC,XB7EV04MP,SCHNEIDER ELECTRIC |  | 2300 | NO | XB7EV04MP |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 6 | 0050 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 20 |  |  | 1 |  |  | QATAR | QAR
62 | 10327268 | 500050 | L |  |  | 4391-2430003-02L07 |  | MONOLITHIC PLASTIC LIGHT- GREEN, INTEGRAL LED 230..240V AC,XB7EV03MP,SCHNEIDER ELECTRIC |  | 2300 | NO | XB7EV03MP |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 6 | 0060 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 20 |  |  | 1 |  |  | QATAR | QAR
63 | 10339485 | 500051 | L |  |  | 4391-2430003-02L08 |  | MONOLITHIC PLASTIC LIGHT- AMBER, INTEGRAL LED 230..240V AC,XB7EV08MP,SCHNEIDER ELECTRIC |  | 2300 | NO | XB7EV08MP |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 6 | 0070 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 20.25 |  |  | 1 |  |  | QATAR | QAR
64 | 10093379 | 500052 | L |  |  | 4391-2430003-02L09 |  | CONTROL RELAY - 240V AC - 3N/O 2N/C,CAD32U7,SCHNEIDER ELECTRIC |  | 2300 | NO | CAD32U7 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 7 | 0080 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 152.8 |  |  | 1 |  |  | QATAR | QAR
65 | 10225542 | 500053 | L |  |  | 4391-2430003-02L10 |  | CONTROL RELAY - 240V AC - 3N/O 2N/C,CAD50U7,SCHNEIDER ELECTRIC |  | 2300 | NO | CAD50U7 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 7 | 0090 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 166 |  |  | 1 |  |  | QATAR | QAR
66 | 10626661 | 500054 | L |  |  | 4391-2430003-02L11 |  | AMMETER - 0-40-240A 1A CT OPERATED (40:1A CT),FE48MIA40/1-6X,SCHNEIDER ELECTRIC |  | 2300 | NO | FE48MIA40/1-6X |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 2 | 0100 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 929.03 |  |  | 1 |  |  | QATAR | QAR
67 | 10626662 | 500055 | L |  |  | 4391-2430003-02L12 |  | AMMETER - 0-50-300A 1A CT OPERATED (50:1A CT),FE48MIA50/1-6X,SCHNEIDER ELECTRIC |  | 2300 | NO | FE48MIA50/1-6X |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 4 | 0110 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 929.03 |  |  | 1 |  |  | QATAR | QAR
68 | 10626663 | 500056 | L |  |  | 4391-2430003-02L13 |  | EMERGENCY STOP Ø 22 - RED - MUSHROOM HEAD Ø 40 MM - STAYPUT - 1 NC,XB7NS8442,SCHNEIDER ELECTRIC |  | 2300 | NO | XB7NS8442 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 7 | 0120 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 56.4 |  |  | 1 |  |  | QATAR | QAR
69 | 10087975 | 500057 | L |  |  | 4391-2430003-02L14 |  | ISOLATOR 3P 80A,V4,SCHNEIDER ELECTRIC |  | 2300 | NO | V4 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 7 | 0130 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 122.5 |  |  | 1 |  |  | QATAR | QAR
70 | 10291208 | 500058 | L |  |  | 4391-2430003-02L15 |  | ISOLATOR AUXILLIARY 2NO,VZ20,SCHNEIDER ELECTRIC |  | 2300 | NO | VZ20 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 7 | 0140 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 57.2 |  |  | 1 |  |  | QATAR | QAR
71 | 10521181 | 500059 | L |  |  | 4391-2430003-02L16 |  | ISOLATOR AUXILLIARY 1NO/1NC,VZ7,SCHNEIDER ELECTRIC |  | 2300 | NO | VZ7 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 7 | 0150 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 85.25 |  |  | 1 |  |  | QATAR | QAR
72 | 10258036 | 500060 | L |  |  | 4391-2430003-02L17 |  | CONTACTOR 3P, 240V AC COIL,LC1D50AU7,SCHNEIDER ELECTRIC |  | 2300 | NO | LC1D50AU7 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 6 | 0160 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 512.65 |  |  | 1 |  |  | QATAR | QAR
73 | 10453362 | 500061 | L |  |  | 4391-2430003-02L18 |  | OVERLOAD RELAY 30-40A,LRD340,SCHNEIDER ELECTRIC |  | 2300 | NO | LRD340 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 2 | 0170 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 419.4 |  |  | 1 |  |  | QATAR | QAR
74 | 10366228 | 500062 | L |  |  | 4391-2430003-02L19 |  | OVERLOAD RELAY 37-50A,LRD350,SCHNEIDER ELECTRIC |  | 2300 | NO | LRD350 |  | SCHNEIDER ELECTRIC |  |  |  | NO | 40004 | 4 | 0180 | VEN-4391-M3TY-2-43-0003 | 20 | QA |  |  | 322.95 |  |  | 1 |  |  | QATAR | QAR

## SPIR TAG vs SUBMT
EQFNR | SUBMT | SPIR NO | REV | HERST | TYPBZ | MAPAR | SERGE | SPIR TYPE | REMARKS
TAG NO | material Construction type | SPIR NO | REV | MANUFACTURER NAME | MODEL | PART NUMBER | SEREAL NO | SPIR TYPE | REMARKS
34-QD-23 | 40001 | VEN-4391-M3TY-2-43-0003 | A | SCHNEIDER ELECTRIC | OKKEN |  | A88029 | NORMAL OPERATING SPARES
6130-MC-01 | 40002 | VEN-4391-M3TY-2-43-0003 | A | SCHNEIDER ELECTRIC | MB400 |  | N013 | NORMAL OPERATING SPARES
34-MCC-001 | 40003 | VEN-4391-M3TY-2-43-0003 | A | SCHNEIDER ELECTRIC | OKKEN |  | S10003.25 | NORMAL OPERATING SPARES
1660-MC-01 | 40004 | VEN-4391-M3TY-2-43-0003 | A | SCHNEIDER ELECTRIC | TRIMLINE |  | TEW0496/01XC | NORMAL OPERATING SPARES