## VEN-4391-M3TY-2-43-0003-REV-A
S.NO | SPIR NO | TAG NO | EQPT MAKE | EQPT MODEL | EQPT SR NO | EQPT QTY | QUANTITY IDENTICAL PARTS FITTED | ITEM NUMBER | POSITION NUMBER | OLD MATERIAL NUMBER/SPF NUMBER | DESCRIPTION OF PARTS | NEW DESCRIPTION OF PARTS | DWG NO INCL POSN NO | MANUFACTURER PART NUMBER | MATERIAL SPECIFICATION | SUPPLIER/ OCM NAME | CURRENCY | UNIT PRICE | UNIT PRICE (QAR) | DELIVERY TIME IN WEEKS | MIN MAX STOCK LVLS QTY | UNIT OF MEASURE | SAP NUMBER | CLASSIFICATION OF PARTS | ERROR | SHEET | SPIR TYPE | VENDOR NAME | VENDOR EMAIL1 | VENDOR EMAIL2 | VENDOR CONTACT NO | VENDOR COUNTRY
NA | CDC_SPIRNUMBER | EQFNR | MFRNR/HERST | TYPBZ | SERGE | MENGE | MENGE | NA | POSNR | BISMT | MAKTX | MAKTX | NA | MFPRN | NA | MFRNR | WAERS | VERPR | VERPR | LEADTIME | EISBE | MEINS(T006) | SAP_MATNR | NA | ERROR | NA | NA | VENDOR NAME | VENDOR EMAIL1 | VENDOR EMAIL2 | VENDOR CONTACT NO | VENDOR COUNTRY
4 | 25 | 30 | 30 | 35 | 30 | 50 | 50 | NA | 4 | 18 | 255 | 40 | 255 | 35 | 255 | 30 | 3 | 11 | 11 | 40 |  | 3 | 8 | 255 | 255 | 255 | 255 | 255 | 255 | 255 | 255 | 255
0001 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 | 1 |  |  | 0010 |  | LV SWITCHGEAR |  |  |  |  | SCHNEIDER ELECTRIC | [8 empty] | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0002 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 1 | 0010 | 4391-2430003-01L01 | HARMONY XB5 WHITE COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC | HARMONY XB5 WHITE COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC,XB5AVG1,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 | XB5AVG1 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 75.3 | 75.3 | 20 | 1 | NO - NUMBERS | 10231307 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0003 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 2 | 0020 | 4391-2430003-01L02 | HARMONY XB5 GREEN COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC | HARMONY XB5 GREEN COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC,XB5AVG3,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 | XB5AVG3 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 72.4 | 72.4 | 20 | 1 | NO - NUMBERS | 10270999 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0004 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 3 | 0030 | 4391-2430003-01L03 | HARMONY XB5 RED COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC | HARMONY XB5 RED COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC,XB5AVG4,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 | XB5AVG4 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 69.8 | 69.8 | 20 | 1 | NO - NUMBERS | 10227189 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0005 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 4 | 0040 | 4391-2430003-01L04 | HARMONY XB5 AMBER COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC | HARMONY XB5 AMBER COMPLETE PILOT LIGHT Ø22 PLAIN LENS WITH INTEGRAL LED 110...120V AC,XB5AVG5,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 | XB5AVG5 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 67.2 | 67.2 | 20 | 1 | NO - NUMBERS | 10341796 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0006 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 16 | 5 | 0050 | 4391-2430003-01L05 | ZELIO RXM MINIATURE RELAY, 4 CO, ITH=6A, WITHOUT LED INDICATION, 120 VAC | ZELIO RXM MINIATURE RELAY, 4 CO, ITH=6A, WITHOUT LED INDICATION, 120 VAC,RXM4AB1F7,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 | RXM4AB1F7 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 35.94 | 35.94 | 20 | 2 | NO - NUMBERS | 10174201 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0007 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 16 | 6 | 0060 | 4391-2430003-01L06 | ZELIO SOCKET RXZ - MIXED CONTACT, 10A - < 250V - CONNECTOR - FOR RELAY RXM2.., RXM4.. | ZELIO SOCKET RXZ - MIXED CONTACT, 10A - < 250V - CONNECTOR - FOR RELAY RXM2.., RXM4..,RXZE2M114M,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3TY-2-56-0001 VEN-4391-M3GE-2-56-0001 | RXZE2M114M |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 18.42 | 18.42 | 20 | 3 | NO - NUMBERS | 10305370 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0008 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 7 | 0070 | 4391-2430003-01L07 | MOTOR CONTROLLER LTM R TESYS T - 100..240 V AC, 5...100 A FOR MODBUS | MOTOR CONTROLLER LTM R TESYS T - 100..240 V AC, 5...100 A FOR MODBUS,LTMR100MFM,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3GE-2-56-0001 | LTMR100MFM |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 1872.4 | 1872.4 | 20 | 2 | NO - NUMBERS | 10319351 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0009 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 8 | 0080 | 4391-2430003-01L08 | EXTENSION MODULE LTM E TESYS T - 100..240 V AC | EXTENSION MODULE LTM E TESYS T - 100..240 V AC,LTMEV40FM,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3GE-2-56-0001 | LTMEV40FM |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 698.3 | 698.3 | 20 | 2 | NO - NUMBERS | 10343706 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0010 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 9 | 0090 | 4391-2430003-01L09 | OPERATOR CONTROL UNIT LTM CU TESYS T | OPERATOR CONTROL UNIT LTM CU TESYS T,LTMCU,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3GE-2-56-0001 | LTMCU |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 923.05 | 923.05 | 20 | 2 | NO - NUMBERS | 10340165 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0011 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 10 | 0100 | 4391-2430003-01L10 | MINIATURE CIRCUIT BREAKER IC60H, 2P, 6A, C | MINIATURE CIRCUIT BREAKER IC60H, 2P, 6A, C,A9F84206,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 | A9F84206 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 64 | 64 | 20 | 1 | NO - NUMBERS | 10389800 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0012 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 11 | 0110 | 4391-2430003-01L11 | MINIATURE CIRCUIT BREAKER IC60L, 2P, 4A, C | MINIATURE CIRCUIT BREAKER IC60L, 2P, 4A, C,A9F94204,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 | A9F94204 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 522.4 | 522.4 | 20 | 1 | NO - NUMBERS | 10633065 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0013 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 12 | 0120 | 4391-2430003-01L12 | CONTACTOR TESYS LC1-D - 3P - AC-3 440V 80 A, COIL 110 V AC | CONTACTOR TESYS LC1-D - 3P - AC-3 440V 80 A, COIL 110 V AC,LC1D80F7,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3GE-2-56-0001 | LC1D80F7 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 947.6 | 947.6 | 20 | 2 | NO - NUMBERS | 10093780 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0014 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 13 | 0130 | 4391-2430003-01L13 | AUXILIARY CONTACT BLOCK TESYS - 2 NO + 2 NC,SCREW-CLAMPS TERMINALS | AUXILIARY CONTACT BLOCK TESYS - 2 NO + 2 NC,SCREW-CLAMPS TERMINALS,LADN22,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3TY-2-56-0001 | LADN22 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 96.6 | 96.6 | 20 | 1 | NO - NUMBERS | 10319067 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0015 | VEN-4391-M3TY-2-43-0003-REV-A | 34-QD-23 | SCHNEIDER ELECTRIC | OKKEN | A88029 |  | 4 | 14 | 0140 | 4391-2430003-01L14 | AUXILIARY CONTACT BLOCK TESYS - 1 NO + 1 NC,SCREW-CLAMPS TERMINALS | AUXILIARY CONTACT BLOCK TESYS - 1 NO + 1 NC,SCREW-CLAMPS TERMINALS,LAD8N11,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3TY-2-56-0001 | LAD8N11 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 73.85 | 73.85 | 20 | 1 | NO - NUMBERS | 10209885 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0016 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 | 1 |  |  | 0010 |  | LV SWITCHGEAR |  |  |  |  | SCHNEIDER ELECTRIC | [8 empty] | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0017 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 4 | 6 | 0010 | 4391-2430003-01L06 | ZELIO SOCKET RXZ - MIXED CONTACT, 10A - < 250V - CONNECTOR - FOR RELAY RXM2.., RXM4.. | ZELIO SOCKET RXZ - MIXED CONTACT, 10A - < 250V - CONNECTOR - FOR RELAY RXM2.., RXM4..,RXZE2M114M,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3TY-2-56-0001 VEN-4391-M3GE-2-56-0001 | RXZE2M114M |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 18.42 | 18.42 | 20 | 3 | NO - NUMBERS | 10305370 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0018 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 13 | 0020 | 4391-2430003-01L13 | AUXILIARY CONTACT BLOCK TESYS - 2 NO + 2 NC,SCREW-CLAMPS TERMINALS | AUXILIARY CONTACT BLOCK TESYS - 2 NO + 2 NC,SCREW-CLAMPS TERMINALS,LADN22,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3TY-2-56-0001 | LADN22 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 96.6 | 96.6 | 20 | 1 | NO - NUMBERS | 10319067 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0019 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 14 | 0030 | 4391-2430003-01L14 | AUXILIARY CONTACT BLOCK TESYS - 1 NO + 1 NC,SCREW-CLAMPS TERMINALS | AUXILIARY CONTACT BLOCK TESYS - 1 NO + 1 NC,SCREW-CLAMPS TERMINALS,LAD8N11,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3TY-2-56-0001 | LAD8N11 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 73.85 | 73.85 | 20 | 1 | NO - NUMBERS | 10209885 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0020 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 15 | 0040 | 4391-2430003-01L15 | HARMONY XB5 RED FLUSH COMPLETE PUSHBUTTON Ø22 SPRING RETURN 1NO UNMARKED | HARMONY XB5 RED FLUSH COMPLETE PUSHBUTTON Ø22 SPRING RETURN 1NO UNMARKED,XB5AA42,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | XB5AA42 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 38.9 | 38.9 | 20 | 1 | NO - NUMBERS | 10228702 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0021 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 16 | 0050 | 4391-2430003-01L16 | AUXILLIARY CONTACT -IOF | AUXILLIARY CONTACT -IOF,A9A26904,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | A9A26904 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 17.35 | 17.35 | 20 | 1 | NO - NUMBERS | 10626665 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0022 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 17 | 0060 | 4391-2430003-01L17 | FUSE 10.3 X 38 GG 2A | FUSE 10.3 X 38 GG 2A,DF2CN02,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | DF2CN02 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 7.5 | 7.5 | 20 | 1 | NO - NUMBERS | 10082296 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0023 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 18 | 0070 | 4391-2430003-01L18 | MINIATURE CIRCUIT BREAKER-IC60N, 2P 2A C CURVE | MINIATURE CIRCUIT BREAKER-IC60N, 2P 2A C CURVE,A9F74202,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | A9F74202 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 75.75 | 75.75 | 20 | 1 | NO - NUMBERS | 10367428 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0024 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 6 | 19 | 0080 | 4391-2430003-01L19 | COMPLETE BODY LIGHT BLOCK ASSEMBLY, HARMONY XB5, 24...120V AC DC | COMPLETE BODY LIGHT BLOCK ASSEMBLY, HARMONY XB5, 24...120V AC DC,ZB5AVBG1,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | ZB5AVBG1 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 85.1 | 85.1 | 20 | 1 | NO - NUMBERS | 10318990 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0025 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 20 | 0090 | 4391-2430003-01L20 | HEAD PILOT LAMP RED | HEAD PILOT LAMP RED,ZB5AV043,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | ZB5AV043 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 24.12 | 24.12 | 20 | 1 | NO - NUMBERS | 10231210 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0026 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 21 | 0100 | 4391-2430003-01L21 | HEAD PILOT LAMP GREEN | HEAD PILOT LAMP GREEN,ZB5AV033,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | ZB5AV033 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 24.78 | 24.78 | 20 | 1 | NO - NUMBERS | 10231189 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0027 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 22 | 0110 | 4391-2430003-01L22 | HEAD PILOT LAMP YELLOW | HEAD PILOT LAMP YELLOW,ZB5AV083,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | ZB5AV083 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 18.05 | 18.05 | 20 | 1 | NO - NUMBERS | 10626660 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0028 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 4 | 23 | 0120 | 4391-2430003-01L23 | BLOCK OF CONTACT 1NO | BLOCK OF CONTACT 1NO,ZBE101,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | ZBE101 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 23.64 | 23.64 | 20 | 1 | NO - NUMBERS | 10092099 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0029 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 4 | 24 | 0130 | 4391-2430003-01L24 | INSTANTANEOUS AUX RELAY 110V AC | INSTANTANEOUS AUX RELAY 110V AC,RXM4AB2F7,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | RXM4AB2F7 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 44.64 | 44.64 | 20 | 1 | NO - NUMBERS | 10292912 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0030 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 | 1 |  |  | 0010 |  | LV SWITCHGEAR |  |  |  |  | SCHNEIDER ELECTRIC | [8 empty] | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0031 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 16 | 6 | 0010 | 4391-2430003-01L06 | ZELIO SOCKET RXZ - MIXED CONTACT, 10A - < 250V - CONNECTOR - FOR RELAY RXM2.., RXM4.. | ZELIO SOCKET RXZ - MIXED CONTACT, 10A - < 250V - CONNECTOR - FOR RELAY RXM2.., RXM4..,RXZE2M114M,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3TY-2-56-0001 VEN-4391-M3GE-2-56-0001 | RXZE2M114M |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 18.42 | 18.42 | 20 | 3 | NO - NUMBERS | 10305370 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0032 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 7 | 0020 | 4391-2430003-01L07 | MOTOR CONTROLLER LTM R TESYS T - 100..240 V AC, 5...100 A FOR MODBUS | MOTOR CONTROLLER LTM R TESYS T - 100..240 V AC, 5...100 A FOR MODBUS,LTMR100MFM,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3GE-2-56-0001 | LTMR100MFM |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 1872.4 | 1872.4 | 20 | 2 | NO - NUMBERS | 10319351 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0033 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 8 | 0030 | 4391-2430003-01L08 | EXTENSION MODULE LTM E TESYS T - 100..240 V AC | EXTENSION MODULE LTM E TESYS T - 100..240 V AC,LTMEV40FM,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3GE-2-56-0001 | LTMEV40FM |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 698.3 | 698.3 | 20 | 2 | NO - NUMBERS | 10343706 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0034 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 9 | 0040 | 4391-2430003-01L09 | OPERATOR CONTROL UNIT LTM CU TESYS T | OPERATOR CONTROL UNIT LTM CU TESYS T,LTMCU,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3GE-2-56-0001 | LTMCU |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 923.05 | 923.05 | 20 | 2 | NO - NUMBERS | 10340165 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0035 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 12 | 0050 | 4391-2430003-01L12 | CONTACTOR TESYS LC1-D - 3P - AC-3 440V 80 A, COIL 110 V AC | CONTACTOR TESYS LC1-D - 3P - AC-3 440V 80 A, COIL 110 V AC,LC1D80F7,SCHNEIDER ELECTRIC | VEN-4391-M2GE-2-56-0001 VEN-4391-M3GE-2-56-0001 | LC1D80F7 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 947.6 | 947.6 | 20 | 2 | NO - NUMBERS | 10093780 | C - STOCK | 0 | MAIN SHEET-1 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0036 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 | 1 |  |  | 0010 |  | LV SWITCHGEAR |  |  |  |  | SCHNEIDER ELECTRIC | [8 empty] | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0037 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 1 | 0140 | 4391-2430003-02L01 | SELECTOR SWITCH Ø22 3 POSITIONS | SELECTOR SWITCH Ø22 3 POSITIONS,XB5AD33,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | XB5AD33 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 60 | 60 | 20 | 1 | NO - NUMBERS | 10223509 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0038 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC | 1 |  |  | 0010 |  | LV SWITCHGEAR |  |  |  |  | SCHNEIDER ELECTRIC | [8 empty] | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0039 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 3 | 2 | 0010 | 4391-2430003-02L02 | FUSE LINK TIA 20 | FUSE LINK TIA 20,82130/106,BUSSMAN | VEN-4391-M1GE-2-56-0002 | 82130/106 |  | BUSSMAN | QAR - QATAR RIYAL | 829.08 | 829.08 | 20 | 1 | NO - NUMBERS | 10095836 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0040 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 6 | 3 | 0020 | 4391-2430003-02L03 | FUSE LINK TIS 63 | FUSE LINK TIS 63,82130/204,BUSSMAN | VEN-4391-M1GE-2-56-0002 | 82130/204 |  | BUSSMAN | QAR - QATAR RIYAL | 829.08 | 829.08 | 20 | 2 | NO - NUMBERS | 10095846 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0041 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 12 | 4 | 0030 | 4391-2430003-02L04 | FUSE LINK TCP 80 | FUSE LINK TCP 80,82130/301,BUSSMAN | VEN-4391-M1GE-2-56-0002 | 82130/301 |  | BUSSMAN | QAR - QATAR RIYAL | 829.08 | 829.08 | 20 | 2 | NO - NUMBERS | 10261634 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0042 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 6 | 5 | 0040 | 4391-2430003-02L05 | FUSE LINK NS6 | FUSE LINK NS6,82120/103,EATON | VEN-4391-M1GE-2-56-0002 | 82120/103 |  | EATON | QAR - QATAR RIYAL | 205.38 | 205.38 | 20 | 1 | NO - NUMBERS | 10095812 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0043 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 6 | 6 | 0050 | 4391-2430003-02L06 | MONOLITHIC PLASTIC LIGHT- RED, INTEGRAL LED 230..240V AC | MONOLITHIC PLASTIC LIGHT- RED, INTEGRAL LED 230..240V AC,XB7EV04MP,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | XB7EV04MP |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 20 | 20 | 20 | 1 | NO - NUMBERS | 10089403 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0044 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 6 | 7 | 0060 | 4391-2430003-02L07 | MONOLITHIC PLASTIC LIGHT- GREEN, INTEGRAL LED 230..240V AC | MONOLITHIC PLASTIC LIGHT- GREEN, INTEGRAL LED 230..240V AC,XB7EV03MP,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | XB7EV03MP |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 20 | 20 | 20 | 1 | NO - NUMBERS | 10327268 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0045 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 6 | 8 | 0070 | 4391-2430003-02L08 | MONOLITHIC PLASTIC LIGHT- AMBER, INTEGRAL LED 230..240V AC | MONOLITHIC PLASTIC LIGHT- AMBER, INTEGRAL LED 230..240V AC,XB7EV08MP,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | XB7EV08MP |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 20.25 | 20.25 | 20 | 1 | NO - NUMBERS | 10339485 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0046 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 7 | 9 | 0080 | 4391-2430003-02L09 | CONTROL RELAY - 240V AC - 3N/O 2N/C | CONTROL RELAY - 240V AC - 3N/O 2N/C,CAD32U7,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | CAD32U7 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 152.8 | 152.8 | 20 | 1 | NO - NUMBERS | 10093379 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0047 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 7 | 10 | 0090 | 4391-2430003-02L10 | CONTROL RELAY - 240V AC - 3N/O 2N/C | CONTROL RELAY - 240V AC - 3N/O 2N/C,CAD50U7,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | CAD50U7 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 166 | 166 | 20 | 1 | NO - NUMBERS | 10225542 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0048 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 2 | 11 | 0100 | 4391-2430003-02L11 | AMMETER - 0-40-240A 1A CT OPERATED (40:1A CT) | AMMETER - 0-40-240A 1A CT OPERATED (40:1A CT),FE48MIA40/1-6X,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | FE48MIA40/1-6X |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 929.03 | 929.03 | 20 | 1 | NO - NUMBERS | 10626661 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0049 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 4 | 12 | 0110 | 4391-2430003-02L12 | AMMETER - 0-50-300A 1A CT OPERATED (50:1A CT) | AMMETER - 0-50-300A 1A CT OPERATED (50:1A CT),FE48MIA50/1-6X,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | FE48MIA50/1-6X |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 929.03 | 929.03 | 20 | 1 | NO - NUMBERS | 10626662 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0050 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 7 | 13 | 0120 | 4391-2430003-02L13 | EMERGENCY STOP Ø 22 - RED - MUSHROOM HEAD Ø 40 MM - STAYPUT - 1 NC | EMERGENCY STOP Ø 22 - RED - MUSHROOM HEAD Ø 40 MM - STAYPUT - 1 NC,XB7NS8442,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | XB7NS8442 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 56.4 | 56.4 | 20 | 1 | NO - NUMBERS | 10626663 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0051 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 7 | 14 | 0130 | 4391-2430003-02L14 | ISOLATOR 3P 80A | ISOLATOR 3P 80A,V4,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | V4 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 122.5 | 122.5 | 20 | 1 | NO - NUMBERS | 10087975 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0052 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 7 | 15 | 0140 | 4391-2430003-02L15 | ISOLATOR AUXILLIARY 2NO | ISOLATOR AUXILLIARY 2NO,VZ20,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | VZ20 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 57.2 | 57.2 | 20 | 1 | NO - NUMBERS | 10291208 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0053 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 7 | 16 | 0150 | 4391-2430003-02L16 | ISOLATOR AUXILLIARY 1NO/1NC | ISOLATOR AUXILLIARY 1NO/1NC,VZ7,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | VZ7 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 85.25 | 85.25 | 20 | 1 | NO - NUMBERS | 10521181 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0054 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 6 | 17 | 0160 | 4391-2430003-02L17 | CONTACTOR 3P, 240V AC COIL | CONTACTOR 3P, 240V AC COIL,LC1D50AU7,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | LC1D50AU7 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 512.65 | 512.65 | 20 | 1 | NO - NUMBERS | 10258036 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0055 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 2 | 18 | 0170 | 4391-2430003-02L18 | OVERLOAD RELAY 30-40A | OVERLOAD RELAY 30-40A,LRD340,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | LRD340 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 419.4 | 419.4 | 20 | 1 | NO - NUMBERS | 10453362 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0056 | VEN-4391-M3TY-2-43-0003-REV-A | 1660-MC-01 | SCHNEIDER ELECTRIC | TRIMLINE | TEW0496/01XC |  | 4 | 19 | 0180 | 4391-2430003-02L19 | OVERLOAD RELAY 37-50A | OVERLOAD RELAY 37-50A,LRD350,SCHNEIDER ELECTRIC | VEN-4391-M1GE-2-56-0002 | LRD350 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 322.95 | 322.95 | 20 | 1 | NO - NUMBERS | 10366228 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0057 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 | 1 |  |  | 0010 |  | LV SWITCHGEAR |  |  |  |  | SCHNEIDER ELECTRIC | [8 empty] | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0058 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 20 | 0060 | 4391-2430003-02L20 | SIGNAL LAMP BODY-RED 16MM 48-120VAC | SIGNAL LAMP BODY-RED 16MM 48-120VAC,ZB6EG4B,SCHNEIDER ELECTRIC | VEN-4391-M3GE-2-56-0001 | ZB6EG4B |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 206.04 | 206.04 | 20 | 1 | NO - NUMBERS | 10340187 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0059 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 21 | 0070 | 4391-2430003-02L21 | SIGNAL LAMP HEAD-RED 16MM 48-120VAC | SIGNAL LAMP HEAD-RED 16MM 48-120VAC,ZB6AV4,SCHNEIDER ELECTRIC | VEN-4391-M3GE-2-56-0001 | ZB6AV4 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 34.85 | 34.85 | 20 | 1 | NO - NUMBERS | 10340188 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0060 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 22 | 0080 | 4391-2430003-02L22 | SIGNAL LAMP BODY-GREEN 16MM 48-120VAC | SIGNAL LAMP BODY-GREEN 16MM 48-120VAC,ZB6EG3B,SCHNEIDER ELECTRIC | VEN-4391-M3GE-2-56-0001 | ZB6EG3B |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 210.96 | 210.96 | 20 | 1 | NO - NUMBERS | 10340189 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0061 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 23 | 0090 | 4391-2430003-02L23 | SIGNAL LAMP HEAD-GREEN 16MM 48-120VAC | SIGNAL LAMP HEAD-GREEN 16MM 48-120VAC,ZB6AV3,SCHNEIDER ELECTRIC | VEN-4391-M3GE-2-56-0001 | ZB6AV3 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 32.85 | 32.85 | 20 | 1 | NO - NUMBERS | 10340200 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0062 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 24 | 0100 | 4391-2430003-02L24 | SIGNAL LAMP BODY-YELLOW 16MM 48-120VAC | SIGNAL LAMP BODY-YELLOW 16MM 48-120VAC,ZB6EG5B,SCHNEIDER ELECTRIC | VEN-4391-M3GE-2-56-0001 | ZB6EG5B |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 261.78 | 261.78 | 20 | 1 | NO - NUMBERS | 10343703 | C - STOCK | 0 | MAIN SHEET-2 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0063 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 | 1 |  |  | 0010 |  | LV SWITCHGEAR |  |  |  |  | SCHNEIDER ELECTRIC | [8 empty] | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0064 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 9 | 0150 | 4391-2430003-03L09 | CONT ACTDR-3P- AC-3 440V - 40A - C□IL LLOVAC | CONT ACTDR-3P- AC-3 440V - 40A - C□IL LLOVAC,LC1D40AF7,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | LC1D40AF7 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 587.95 | 587.95 | 20 | 1 | NO - NUMBERS | 10366226 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0065 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 10 | 0160 | 4391-2430003-03L10 | MOTOR CIRCUIT BREAKER, 3P, 24-32 A, MAGNETDTHERMAL | MOTOR CIRCUIT BREAKER, 3P, 24-32 A, MAGNETDTHERMAL,GV2ME32,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | GV2ME32 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 406.8 | 406.8 | 20 | 1 | NO - NUMBERS | 10387030 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0066 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 11 | 0170 | 4391-2430003-03L11 | AUXILIARY CONT ACT - !ND+ !NC | AUXILIARY CONT ACT - !ND+ !NC,GVAN11,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | GVAN11 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 39.95 | 39.95 | 20 | 1 | NO - NUMBERS | 10624459 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0067 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 6 | 12 | 0180 | 4391-2430003-03L12 | FUSE 22X58 \./ITH TRIP INDICATOR | FUSE 22X58 \./ITH TRIP INDICATOR,FR22AM69V63P,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | FR22AM69V63P |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 159 | 159 | 20 | 1 | NO - NUMBERS | 10202363 |  | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0068 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 13 | 0190 | 4391-2430003-03L13 | FUSE CARRIER 22X58 3P | FUSE CARRIER 22X58 3P,DF223C,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | DF223C |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 253.85 | 253.85 | 20 | 1 | NO - NUMBERS | 10599849 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0069 | VEN-4391-M3TY-2-43-0003-REV-A | 6130-MC-01 | SCHNEIDER ELECTRIC | MB400 | N013 |  | 2 | 14 | 0200 | 4391-2430003-03L14 | THERMAL OVERLOAD RELAY, TESYS LRD, 23..32 A, CLASS LOA | THERMAL OVERLOAD RELAY, TESYS LRD, 23..32 A, CLASS LOA,LRD32,SCHNEIDER ELECTRIC | VEN-4391-M3TY-2-56-0001 | LRD32 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 237.1 | 237.1 | 20 | 1 | NO - NUMBERS | 10258124 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0070 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 | 1 |  |  | 0010 |  | LV SWITCHGEAR |  |  |  |  | SCHNEIDER ELECTRIC | [8 empty] | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0071 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 1 | 0110 | 4391-2430003-03L01 | SIGNAL LAMP HEAD-YELLOW 16MM 48-120VAC | SIGNAL LAMP HEAD-YELLOW 16MM 48-120VAC,ZB6AV5,SCHNEIDER ELECTRIC | VEN-4391-M3GE-2-56-0001 | ZB6AV5 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 36.7 | 36.7 | 20 | 1 | NO - NUMBERS | 10343704 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0072 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 2 | 0120 | 4391-2430003-03L02 | PUSHBUTTON SPRING RETURN 16MM BALCK 1NO+1NC | PUSHBUTTON SPRING RETURN 16MM BALCK 1NO+1NC,XB6AA25B,SCHNEIDER ELECTRIC | VEN-4391-M3GE-2-56-0001 | XB6AA25B |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 112.3 | 112.3 | 20 | 1 | NO - NUMBERS | 10340184 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0073 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 3 | 0130 | 4391-2430003-03L03 | PUSHBUTTON MUSHROOM HEAD 16MM RED 1NO+1NC | PUSHBUTTON MUSHROOM HEAD 16MM RED 1NO+1NC,XB6AS8349B,SCHNEIDER ELECTRIC | VEN-4391-M3GE-2-56-0001 | XB6AS8349B |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 195.55 | 195.55 | 20 | 1 | NO - NUMBERS | 10343571 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0074 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 4 | 0140 | 4391-2430003-03L04 | PUSHBUTTON SPRING RETURN 16MM RED 1NC | PUSHBUTTON SPRING RETURN 16MM RED 1NC,XB6AA42B,SCHNEIDER ELECTRIC | VEN-4391-M3GE-2-56-0001 | XB6AA42B |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 101.88 | 101.88 | 20 | 1 | NO - NUMBERS | 10340201 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0075 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 4 | 5 | 0150 | 4391-2430003-03L05 | PUSHBUTTON SPRING RETURN 16MM GREEN 1NC | PUSHBUTTON SPRING RETURN 16MM GREEN 1NC,XB6AA31B,SCHNEIDER ELECTRIC | VEN-4391-M3GE-2-56-0001 | XB6AA31B |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 91.25 | 91.25 | 20 | 1 | NO - NUMBERS | 10340202 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0076 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 2 | 6 | 0160 | 4391-2430003-03L06 | AC AMMETER 75/1A C:1 48X48 6*IN 0-75-450A | AC AMMETER 75/1A C:1 48X48 6*IN 0-75-450A,FQ0407 HA756SAASNSSSYS,ISKRA | VEN-4391-M3GE-2-56-0001 | FQ0407 HA756SAASNSSSYS |  | ISKRA | QAR - QATAR RIYAL | 1015.35 | 1015.35 | 20 | 1 | NO - NUMBERS | 10626664 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0077 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 2 | 7 | 0170 | 4391-2430003-03L07 | AC AMMETER 40/1A C:1 48X48 6*IN 0-40-240A | AC AMMETER 40/1A C:1 48X48 6*IN 0-40-240A,FQ0407 HA406SAASNSSSYS,ISKRA | VEN-4391-M3GE-2-56-0001 | FQ0407 HA406SAASNSSSYS |  | ISKRA | QAR - QATAR RIYAL | 1021.5 | 1021.5 | 20 | 1 | NO - NUMBERS | 10626569 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR
0078 | VEN-4391-M3TY-2-43-0003-REV-A | 34-MCC-001 | SCHNEIDER ELECTRIC | OKKEN | S10003.25 |  | 8 | 8 | 0180 | 4391-2430003-03L08 | MINIATURE CIRCUIT BREAKER IC60H, 2P,4A | MINIATURE CIRCUIT BREAKER IC60H, 2P,4A,A9F84204,SCHNEIDER ELECTRIC | VEN-4391-M3GE-2-56-0001 | A9F84204 |  | SCHNEIDER ELECTRIC | QAR - QATAR RIYAL | 113.7 | 113.7 | 20 | 2 | NO - NUMBERS | 10393417 | C - STOCK | 0 | MAIN SHEET-3 | NORMAL OPERATING SPARES | SCHNEIDER ELECTRIC | MANEESH.MOHAN@SE.COM |  | PHONE:+974 44063000,+974 44676936 | QATAR